[PARTNER LOGO]

Katy Homebuyer HVAC
Due-Diligence Checklist

A decision-support worksheet for the option period

| PROPERTY: __________________________________ | OPTION DEADLINE: __________________________ |
| --- | --- |
| BUYER: ___________________________________ | INSPECTOR / HVAC REVIEW: ___________________ |

1  EQUIPMENT + RECORDS

| □ | Photograph data plates: outdoor unit, indoor unit, coil, and every additional system. |
| --- | --- |
| □ | Record brand, model, serial, printed manufacture date, install date, and warranty transfer terms. |
| □ | Collect service invoices; flag repeat drains, repeat refrigerant additions, major parts, and deferred work. |

2  REFRIGERANT + MATCH

| □ | Record the exact refrigerant from the nameplate; do not infer it from age or color. |
| --- | --- |
| □ | Ask for the proposal, startup sheet, equipment schedule, manufacturer match data, or AHRI certificate. |
| □ | If component dates differ, document what changed and ask whether the current combination is supportable. |

3  DRAIN + OVERFLOW

| □ | Identify the primary drain, auxiliary pan, secondary drain, and/or overflow shutoff where present. |
| --- | --- |
| □ | Flag water in the pan, rust, ceiling stains, patched areas, clogs, or previous water events. |
| □ | Ask a qualified person to confirm the installed protection operates as intended. |

4  DUCTS + ATTIC

| □ | Note damaged, disconnected, crushed, kinked, sagging, or uninsulated accessible ducts. |
| --- | --- |
| □ | Note absent airflow, sweating, water staining, suspect growth, or restricted service access. |
| □ | List rooms with weak airflow or a history of uneven summer comfort. |

HOME INSPECTOR SCOPE NOTE Texas inspectors report required accessible cooling, condensate, and duct deficiencies. They are not required to identify refrigerant, verify component matching or tonnage, determine sizing/efficiency, estimate remaining life, or provide repair costs.

# Finish the review before the deadline

5  TEMPERATURE + HUMIDITY

| □ | Record the inspector's cooling-performance method, result, and conditions at the time. |
| --- | --- |
| □ | Note thermostat humidity, condensation, odors, long run times, and room-to-room differences. |
| □ | Treat one temperature differential as one observation - not proof of sizing, charge, balance, or life. |

6  PERMITS + LICENSE

| □ | Ask for permit number, final inspection, installation invoice, equipment schedule, and startup record. |
| --- | --- |
| □ | Confirm the authority for the exact address; the Katy mailing area crosses jurisdictions. |
| □ | Verify the responsible contractor and active license at tdlr.texas.gov/verify.htm. |

7  BEFORE THE DEADLINE

| □ | Write down the exact contract deadline and time; use your executed contract and professional advice. |
| --- | --- |
| □ | Separate what the home inspector answered from questions outside the inspector's required scope. |
| □ | Obtain needed specialist findings, written scope, price, warranty, and permit assumptions in time to act. |

## Questions to resolve

| □ | Are every system's components and ages supported by labels or records? |
| --- | --- |
| □ | Is the indoor/outdoor combination approved or otherwise technically supportable? |
| □ | Do repeat repairs, refrigerant additions, water events, or comfort complaints need diagnosis? |
| □ | Are drain/overflow protections and accessible ducts performing as intended? |
| □ | Are permit/final records reconciled and is the responsible TDLR license active? |
| □ | Do you have written findings, options, prices, warranties, and enough time to act? |

## Partner contact

[PARTNER NAME / TEAM]  |  [PHONE]  |  [EMAIL]  |  [WEBSITE]

Official references: TREC Standards  |  TDLR ACR  |  TDLR Verify  |  EPA R-22  |  AHRI Directory  |

Customize the logo and contact fields only with partner approval. This guide is not an inspection, diagnosis, code review, legal advice, or a deadline calculator. Service requests to Katy Air Conditioning are fulfilled by independent local HVAC professionals.