[PARTNER NAME]  +  KATY AIR CONDITIONING    CO-BRANDABLE EDITION
[PARTNER LOGO]
Katy Homebuyer HVAC
Due-Diligence Checklist
A decision-support worksheet for the option period
	PROPERTY: __________________________________
	OPTION DEADLINE: __________________________

	BUYER: ___________________________________
	INSPECTOR / HVAC REVIEW: ___________________


1  EQUIPMENT + RECORDS
	□
	Photograph data plates: outdoor unit, indoor unit, coil, and every additional system.

	□
	Record brand, model, serial, printed manufacture date, install date, and warranty transfer terms.

	□
	Collect service invoices; flag repeat drains, repeat refrigerant additions, major parts, and deferred work.


2  REFRIGERANT + MATCH
	□
	Record the exact refrigerant from the nameplate; do not infer it from age or color.

	□
	Ask for the proposal, startup sheet, equipment schedule, manufacturer match data, or AHRI certificate.

	□
	If component dates differ, document what changed and ask whether the current combination is supportable.


3  DRAIN + OVERFLOW
	□
	Identify the primary drain, auxiliary pan, secondary drain, and/or overflow shutoff where present.

	□
	Flag water in the pan, rust, ceiling stains, patched areas, clogs, or previous water events.

	□
	Ask a qualified person to confirm the installed protection operates as intended.


4  DUCTS + ATTIC
	□
	Note damaged, disconnected, crushed, kinked, sagging, or uninsulated accessible ducts.

	□
	Note absent airflow, sweating, water staining, suspect growth, or restricted service access.

	□
	List rooms with weak airflow or a history of uneven summer comfort.


	HOME INSPECTOR SCOPE NOTE  Texas inspectors report required accessible cooling, condensate, and duct deficiencies. They are not required to identify refrigerant, verify component matching or tonnage, determine sizing/efficiency, estimate remaining life, or provide repair costs.




Finish the review before the deadline
5  TEMPERATURE + HUMIDITY
	□
	Record the inspector's cooling-performance method, result, and conditions at the time.

	□
	Note thermostat humidity, condensation, odors, long run times, and room-to-room differences.

	□
	Treat one temperature differential as one observation - not proof of sizing, charge, balance, or life.


6  PERMITS + LICENSE
	□
	Ask for permit number, final inspection, installation invoice, equipment schedule, and startup record.

	□
	Confirm the authority for the exact address; the Katy mailing area crosses jurisdictions.

	□
	Verify the responsible contractor and active license at tdlr.texas.gov/verify.htm.


7  BEFORE THE DEADLINE
	□
	Write down the exact contract deadline and time; use your executed contract and professional advice.

	□
	Separate what the home inspector answered from questions outside the inspector's required scope.

	□
	Obtain needed specialist findings, written scope, price, warranty, and permit assumptions in time to act.


Questions to resolve
	□
	Are every system's components and ages supported by labels or records?

	□
	Is the indoor/outdoor combination approved or otherwise technically supportable?

	□
	Do repeat repairs, refrigerant additions, water events, or comfort complaints need diagnosis?

	□
	Are drain/overflow protections and accessible ducts performing as intended?

	□
	Are permit/final records reconciled and is the responsible TDLR license active?

	□
	Do you have written findings, options, prices, warranties, and enough time to act?


Partner contact
[PARTNER NAME / TEAM]  |  [PHONE]  |  [EMAIL]  |  [WEBSITE]
Official references: TREC Standards  |  TDLR ACR  |  TDLR Verify  |  EPA R-22  |  AHRI Directory  |  
Customize the logo and contact fields only with partner approval. This guide is not an inspection, diagnosis, code review, legal advice, or a deadline calculator. Service requests to Katy Air Conditioning are fulfilled by independent local HVAC professionals.
katyairconditioning.com  |  (281) 671-9559  |  




